## Parameters
Parameter | Abbreviations | Units | Sampling Instrument / Device | Measurement method | Reference | Resp. person
Date/time | Date/time UTC | yyyy-mm-ddThh:mmZ | Measured by CTD probe, expressed as UTC | internal clock
Depth | Depth | m | CTD probe SBE 19 Plus Seacat, S/N: 4380 | strain gauge,Range: 0-110 dbar, accuracy +/- 0.5 fs | ICRAM. 2001. Impiego della sonda multiparametrica. In: Metodologie analitiche di riferimento. Ministero dell'Ambiente e del territorio. Servzio Difesa Mare. | Cinzia Comici
Temperature | Temp | °C | CTD probe SBE 19 Plus Seacat, S/N: 4380 | temperature sensor, Range: -5-+35°C, Accuracy:+/.0.005°C | Sparnocchia, S., Nair, R., Russo, A., Ribera d'Alcalà, M. 2010. Temperatura, salinità e densità. In: Metodologie di studio del plancton marino. Socal, G-, Buttino, I., Cabrini, M., Mangoni, O., Penna, A., Totti, C. (eds), Manuali e Linee Guida ISPRA SIBM Roma, pp. 3-20. | Cinzia Comici
Conductivity | Cond | mS/cm | CTD probe SBE 19 Plus Seacat, S/N: 4380 | conductivity mesurement,Range: 0-9 S/m ,Accuracy: 0.0005 S/m | Sparnocchia, S., Nair, R., Russo, A., Ribera d'Alcalà, M. 2010. Temperatura, salinità e densità. In: Metodologie di studio del plancton marino. Socal, G-, Buttino, I., Cabrini, M., Mangoni, O., Penna, A., Totti, C. (eds), Manuali e Linee Guida ISPRA SIBM Roma, pp. 3-20. | Cinzia Comici
Salinity | Sal |  | CTD probe SBE 19 Plus Seacat, S/N: 4380 | conductivity mesurement,Range: 0-9 S/m ,Accuracy: 0.0005 S/m | Sparnocchia, S., Nair, R., Russo, A., Ribera d'Alcalà, M. 2010. Temperatura, salinità e densità. In: Metodologie di studio del plancton marino. Socal, G-, Buttino, I., Cabrini, M., Mangoni, O., Penna, A., Totti, C. (eds), Manuali e Linee Guida ISPRA SIBM Roma, pp. 3-20. | Cinzia Comici
Oxygen | CTD_O2 | mL L-1 | CTD probe SBE 19 Plus Seacat, S/N4380, SBE 43 sensor S/N 0375 | polarographic sensor, Range: 0-120 %,Accuracy:+/- 2 % | ICRAM. 2001. Impiego della sonda multiparametrica. In: Metodologie analitiche di riferimento. Ministero dell'Ambiente e del territorio. Servzio Difesa Mare. | Cinzia Comici

## Other info
Station | codes: Z1, Z2, Z3 and Z4 | four stations located on a transect from the Isonzo river mouth to the Trieste gulf centre, the station were sampled each two month for 12 times within two years. The sampling was performed using the Castino II vessel.
CTD data |  | averaged on 0.5 m